# Shipboard Meteorological Sensor Specifications

## R/V New Horizon

Chart Room      Pcode Receiver

Chart room      Trimble Differential GPS

Bridge          Gyro Compass

A description of the sensors that are on the R/V New Horizon follows:

Flying bridge :

Coastal Environmental WeatherPak, Sample rate once every 10 seconds

Air Temperature

-50 to +50 Deg C

Accuracy +/- 0.15 Deg C

Relative Humidity

Coast Weatherpak

0 - 100 %

Accuracy 4%

or

Vaisala HMP45D

0 - 100 %

Accuracy 2%

Barometric Pressure

600 - 1100 hPa

Accuracy 3 hPa

Wind

Direction 0 - 360 Deg

Speed     0 - 60m/s

Short Wave Radiation

Eppley Labs PSP

Calibrated Eppley Labs

approx 9uv/W/M2

Linearity +/- 5% (0-2800 W/M2)

Temperature Dependence +/- 1%

Long Wave Radiation

Eppley Labs PIR

Calibrated Eppley Labs

approx 5uv/W/M2

Linearity +/- 1.0% ( 0-700 W/M2)

Temperature Dependence +/- 2%

*Aft Lab

Seabird SBE21 Thermosalinograph

Temperature

Range -5 - +35 Deg C

Accuracy +/- 0.01 Deg/6mo

Resolution 0.001

Conductivity

Range 0 - 6.5 S/m

Accuracy +/- 0.001 S/m/month

Resolution 0.00001 S/m

Fluorometer

Wetlabs Wetstar

Range 0.03-75 ug/l

2 Blue LED excitation          460 nm

Measured Wavelength Emission   695nm

Engine Room

STS Dual Temperature unit

Sea Surface temperature

Range -2 - 35 Deg C

Accuracy +/- 0.1 Deg

Resolution 0.01

The sea surface temperature sensors are Hull mounted RTD's that are located in the engine room below the water line. These two sensors are directly under the insulation and in contact with the inner hull. There are two of them in case there is a problem with one drifting or failing. These sensors are labled ST in the recorded data. The  thermosalinograph temperature measures the temperature at the unit itself. There is some warming of the water as it flows through the pump and plumbing in order to reach the TSG unit in the lab. This is the temperature at the conductivity sensor and is what is used to calculate salinity.

* Installed upon request prior to cruise

R/V Sproul

Chart Room      Pcode Receiver

Bridge          Gyro Compass

A description of the sensors that are on the R/V Sproul follows:

Coastal Environmental WeatherPak, Sample rate once every 10 seconds

Location: Flying bridge

Distance Sensors Mounted above Top Bridge Deck -  about 7'

Distance from Mean Water Line to sensors - About 30'

Air Temperature

-50 to +50 Deg C

Accuracy +/- 0.15 Deg C

Relative Humidity

Coast Weatherpak

0 - 100 %

Accuracy 4%

or

Vaisala HMP45D

0 - 100 %

Accuracy 2%

Barometric Pressure

600 - 1100 hPa

Accuracy 3 hPa

Wind

Direction 0 - 360 Deg

Speed     0 - 60m/s

Short Wave Radiation

Eppley Labs PSP

Calibrated Eppley Labs

approx 9uv/W/M2

Linearity +/- 5% (0-2800 W/M2)

Temperature Dependence +/- 1%

Long Wave Radiation

Eppley Labs PIR

Calibrated Eppley Labs

approx 5uv/W/M2

Linearity +/- 1.0% ( 0-700 W/M2)

Temperature Dependence +/- 2%

Installed upon request prior to cruise

*Seabird SBE21 Thermosalinograph

Thermosalinograph

Temperature

Range -5 - +35 Deg C

Accuracy +/- 0.01 Deg/6mo

Resolution 0.001

Conductivity

Range 0 - 6.5 S/m

Accuracy +/- 0.001 S/m/month

Resolution 0.00001 S/m

Fluorometer

Wetlabs Wetstar

Range 0.03-75 ug/l

2 Blue LED excitation          460 nm

Measured Wavelength Emission   695nm

_______________________________

*If requested with sufficient advance notice and

Depending on Availability, the SBE21 can be

installed prior to cruise.

R/V Revelle

Current MET configuration (3-15-01):

MET system inputs:

MET Sensors on Top Bridge

MET Sensors on Forward MET Mast

MET Sensors in Bow Thruster Room

Wind Sensors on Main Mast

Timeserver for precision Time Stamping of data

GPS Pcode for Ships position

Sperry MK37 Gyro for ships heading

Knudsen Depth for Water Depth

Met system outputs:

Sound Velocity to EM120 Simrad Multibeam system

RS232 out to fwd computer lab splitter

The Forward MET mast is located on the bow which is 60' forward of the forwardmost

bridge bulkhead. The Sensors are mounted on a platform that is 72' above the mean water line.

Air Temp

RM Young 41342LC

Calibrated SIO/STS

-50.0 to + 50.0 Deg C

+/- 0.5 DEG C

Relative Humidity

Rotronics MP101A

or

Vaisala HMP45D

Range 0-100%

+/- 2%

Barometric Pressure

Air Inc AIR-DB-2A

Calibrated SIO/STS

Range 800 to 1060mb

(Temp +5 to 40 Deg C)

+/- 0.5mb

Precipitation

RM Young 50202

Capacitance level measuring sensor

Calibrated SIO/STS

Range 0-50mm

+/- 1.0mm

Wind Spd Dir

RM Young 53002

Calibrated SIO/STS

Range Direction 0-360 Degrees Speed 0-60m/s

-----------------------------------------------------------------

The following sensors are mounted on the 05 Level Upper Bridge Deck:

Short Wave Radiation

Eppley Labs PSP

Calibrated Eppley Labs

approx 9uv/W/M2

Linearity +/- 5% (0-2800 W/M2)

Temperature Dependence +/- 1%

Long  Wave Radiation

Eppley Labs PIR

Calibrated Eppley Labs

approx 5uv/W/M2

Linearity +/- 1.0% ( 0-700 W/M2)

Temperature Dependence +/- 2%

-----------------------------------------------------------------

The following sensors are mounted in the Bow Thruster Room on the intake of the Uncontaminated Seawater supply line to Science Labs:

Thermosalinograph

FSI OTM Ocean Temperature Module

Calibrated SIO/STS

Range -2.0 to +32.0 Deg C

+/- 0.02 DEG C

FSI OCM Ocean Conductivity Module

Calibrated SIO/STS

Range 0-65 mmho/cm

+/- 0.02 mmho/cm

Flow Meter

Signet 81512/515-PO

Range 0-80 GPM

## R/V Melville

Current MET configuration:

MET system inputs:

MET Sensors on Forward MET Mast

MET Sensors in Bow chamber

Timeserver for precision Time Stamping of data

GPS Pcode for Ships position

Sperry MK37 Gyro for ships heading

-----------------------------------------------------------------

The following sensors are mounted on the forward met mast:

The Forward MET mast is located on the bow

The Sensors are mounted on a platform that is 55' above the

mean water line.

Air Temp

RM Young 41342LC

Calibrated SIO/STS

-50.0 to + 50.0 Deg C

+/- 0.5 DEG C

Relative Humidity

Rotronics MP101A

or

Vaisala HMP45D

Range 0-100%

+/- 2%

Barometric Pressure

Air Inc AIR-DB-2A

Calibrated SIO/STS

Range 800 to 1060mb

(Temp +5 to 40 Deg C)

+/- 0.5mb

Precipitation

RM Young 50202

Capacitance level measuring sensor

Calibrated SIO/STS

Range 0-50mm

+/- 1.0mm

Wind Spd Dir

RM Young 53002

Calibrated SIO/STS

Range Direction 0-360 Degrees Speed 0-60m/s

SWR PSP

Eppley Labs PSP

Calibrated Eppley Labs

approx 9uv/W/M2

Linearity +/- 5% (0-2800 W/M2)

Temperature Dependence +/- 1%

LWR PIR

Eppley Labs PIR

Calibrated Eppley Labs

approx 5uv/W/M2

Linearity +/- 1.0% ( 0-700 W/M2)

Temperature Dependence +/- 2%

Wind Speed/Direction

-----------------------------------------------------------------

The following sensors are mounted in the Bow chamber on the

intake of the Uncontaminated Seawater supply line to Science Labs:

Thermosalinograph

FSI OTM Ocean Temperature Module

Calibrated SIO/STS

Range -2.0 to +32.0 Deg C

+/- 0.02 DEG C

FSI OCM Ocean Conductivity Module

Calibrated SIO/STS

Range 0-65 mmho/cm

+/- 0.02 mmho/cm

Flow Meter

Signet 81512/515-PO

Range 0-80 GPM

Sensor specs and calibration info

Met Sensors calibrated about once every 12 months

Met Sensors Calibrated about every 6-12 months Sensor accuracy and calibration specifications as listed are valid if the sensors are in good working order and have been calibrated within the past six months. Bow sensors need to have proper water flow through the uncontaminated seawater system in order to produce valid readings.